|  |  |  |  |  | E - | Excellent |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | F - | Fair |  |  |  |  |
|  |  |  |  |  | P - | Poor |  |  |  |  |
|  |  |  |  |  |  |  | NR - | Needs repair or replacement |  |  |
|  |  |  |  |  |  |  | If P or NR, contact management |  |
| Smoke Detectors | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec |
| appropriate location? Yes/No |  |  |  |  |  |  |  |  |  |  |  |  |
| test monthly |  |  |  |  |  |  |  |  |  |  |  |  |
| dust monthly |  |  |  |  |  |  |  |  |  |  |  |  |
| replace batteries annually |  |  |  |  |  |  |  |  |  |  |  |  |
| CO Detectors |  |  |  |  |  |  |  |  |  |  |  |  |
| appropriate location? Yes/No |  |  |  |  |  |  |  |  |  |  |  |  |
| test monthly |  |  |  |  |  |  |  |  |  |  |  |  |
| dust monthly |  |  |  |  |  |  |  |  |  |  |  |  |
| replace batteries annually |  |  |  |  |  |  |  |  |  |  |  |  |
| Eyewash Station |  |  |  |  |  |  |  |  |  |  |  |  |
| run water monthly |  |  |  |  |  |  |  |  |  |  |  |  |
| Fire Extinguishers (see attached sheet) |  |  |  |  |  |  |  |  |  |  |  |  |
| inspect monthly |  |  |  |  |  |  |  |  |  |  |  |  |
| hydrotest as per manufacturer |  |  |  |  |  |  |  |  |  |  |  |  |
| HVAC |  |  |  |  |  |  |  |  |  |  |  |  |
| Monthly |  |  |  |  |  |  |  |  |  |  |  |  |
| Free of accumulation of combustible deposits? |  |  |  |  |  |  |  |  |  |  |  |  |
| hoods |  |  |  |  |  |  |  |  |  |  |  |  |
| filters |  |  |  |  |  |  |  |  |  |  |  |  |
| ducts |  |  |  |  |  |  |  |  |  |  |  |  |
| Annually |  |  |  |  |  |  |  |  |  |  |  |  |
| Outside servicing completed? |  |  |  |  |  |  |  |  |  |  |  |  |
| Dust Collectors |  |  |  |  |  |  |  |  |  |  |  |  |
| Remarks: |
| Inspected by: _________________________________ |  | Signature: ___________________________ | Date: _______________ |
| Supervisor: _________________________________ |  | Signature: ___________________________ | Date: _______________ |

| Month: |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Location 1 | Location 2 | Location 3 | Location 4 | Location 5 | Location 6 | Location 7 | Location 8 | Location 9 | Location 10 |
| Fire Extinguishers |  |  |  |  |  |  |  |  |  |  |
| Visible |  |  |  |  |  |  |  |  |  |  |
| Accessible |  |  |  |  |  |  |  |  |  |  |
| Clearly Signed |  |  |  |  |  |  |  |  |  |  |
| Charged |  |  |  |  |  |  |  |  |  |  |
| All parts in good condition |  |  |  |  |  |  |  |  |  |  |
| Monthly inspection tag signed |  |  |  |  |  |  |  |  |  |  |
| Class marked and right type |  |  |  |  |  |  |  |  |  |  |
| Date:____________________ | Inspected by __________________________ |  |  |  |  |
| Month: |  |  |  |  |  |  |  |  |  |  |
|  | Location 1 | Location 2 | Location 3 | Location 4 | Location 5 | Location 6 | Location 7 | Location 8 | Location 9 | Location 10 |
| Fire Extinguishers |  |  |  |  |  |  |  |  |  |  |
| Visible |  |  |  |  |  |  |  |  |  |  |
| Accessible |  |  |  |  |  |  |  |  |  |  |
| Clearly Signed |  |  |  |  |  |  |  |  |  |  |
| Charged |  |  |  |  |  |  |  |  |  |  |
| All parts in good condition |  |  |  |  |  |  |  |  |  |  |
| Monthly inspection tag signed |  |  |  |  |  |  |  |  |  |  |
| Class marked and right type |  |  |  |  |  |  |  |  |  |  |
| Date:____________________ | Inspected by: __________________________ |  |  |  |  |  |
| Month: |  |  |  |  |  |  |  |  |  |  |
|  | Location 1 | Location 2 | Location 3 | Location 4 | Location 5 | Location 6 | Location 7 | Location 8 | Location 9 | Location 10 |
| Fire Extinguishers |  |  |  |  |  |  |  |  |  |  |
| Visible |  |  |  |  |  |  |  |  |  |  |
| Accessible |  |  |  |  |  |  |  |  |  |  |
| Clearly Signed |  |  |  |  |  |  |  |  |  |  |
| Charged |  |  |  |  |  |  |  |  |  |  |
| All parts in good condition |  |  |  |  |  |  |  |  |  |  |
| Monthly inspection tag signed |  |  |  |  |  |  |  |  |  |  |
| Class marked and right type |  |  |  |  |  |  |  |  |  |  |
| Date:____________________ | Inspected by: __________________________ |